Appendix 1 – Q3 Summary Data

| Workstream | Performance indicator | Target | Target | 2024/25 | 2024/25 | 2024/25 |
| --- | --- | --- | --- | --- | --- | --- |
| (TSM measure) |  |  |  | Q1 – average compliance | Q2 – average compliance | Q3 – average compliance |
| Area of compliance | Description | Compliance target | Total Annual Amount | Ave. across April, May, June | Ave. across July, Aug, Sept | Ave. across Oct, Nov, Dec |
| Gas safety - Social Housing Stock | % domestic properties (with gas appliances with a valid LGSR) | 100% | 7015 | 100% | 100% | 100% |
|  | % gas carcasses (with no gas appliances) with a valid LGSR) | 100% | 19 | 100% | 100% | 100% |
| Gas safety (Private Sector Leased) | % domestic properties (with gas appliances) with a valid LGSR | 100% | 4 | 100% | 100% | 100% |
| Gas Safety social housing (boiler houses) | % HRA communal boiler sites (i.e district and communal heating systems with a valid CP15) | 100% | 27 | 100% | 100% | 100% |
| Electrical compliance | % of domestic sites with a compliant status (ie satisfactory EICR, 5 year EIC) | 100% | 7924 | 91.66% | 93.25% | 94.60% |
|  | % of communal sites with a compliant status (ie satisfactory EICR, 5 year EIC) (including Satellite offices & boiler houses) | 100% | 404 | 98.50% | 98.70% | 99.34% |
| Electrical compliance (Private Sector Leased) | % of domestic sites with a compliant status (ie satisfactory EICR, 5 year EIC, In-date | 100% | 8 | 100% | 100% | 100% |
| Smoke Alarms | Properties with working of Smoke Alarms, from EICR, LGSR or void | 100% | Variable | 100% | 100% | 100% |
| Carbon Alarms | Properties with confirmed working of Carbon Monoxide alarms. | 100% | Variable | 100% | 100% | 100% |
| Fire Safety (TSM BS02) | % of emergency lighting sites with a compliant status (ie passed certificate for 3hr annual drain down test) | 100% | 335 | 49.50% | 62.33% | 99.81% |
|  | % of sites (High-Med-Low rise, sheltered, storage, hostels, boiler houses) with a valid fire risk assessment | 100% | 498 (HRA FRA's) | 99.00% | 98.50% | 100.00% |
|  | % of actions which are not overdue past FRA recommended timeframe | 100% | 498 (HRA FRA's) | 79.51% | 72.75% | 50.71% |
| Fire Alarms | % of HRA fire alarms sites (communal, domestic, satellite offices, hostel, TA, sheltered) with compliant 3 monthly periodic inspection | 100% | 65 | 85.67% | 79.59% | 93.34% |
| Dry risers | % of dry risers (general needs + sheltered buildings) with a certificate of conformity and received twice yearly compliance visits | 100% | 26 | 94.00% | 100% | 100.00% |
| Lightning Protection Systems | % of lighting protection systems (general needs and sheltered sites tested with 11 months) | 100% | 13 | 100% | 100% | 66.67 |
| Asbestos (TSM BS03) | % of HRA communal areas with a compliant communal inspection report including satellite offices & boiler houses | 100% | 615 | 100% | 100% | 99.78% |
| Legionella risk assessments and water quality (TSM BS04) | % of sites (HRA Housing communal cold-water tanks, Sheltered, HPUs, Boosted-water sites) with a valid risk assessment | 100% | 510 | 100% | 100% | 100% |
|  | % of actions completed within RA recommended timeframes. [NOTE - Actions Performance Indicator] | 100% | Variable | 99.00% | 100% | 100% |
| Lifts (TSM BS05) | % of site with passenger lifts (General Needs, Sheltered, Operational Sites, HPU) with insurance inspection compliancy. (Temporary accomodation) | 100% | 28 | 100% | 100% | 100% |
|  | % of sites with monthly service and maintenance visits undertaken. [NOTE - Servicing Performance Indicator] (Council stock) | 100% | 31 | 100% | 100% | 100% |
| Stair lifts + other equipment [Adaptations] | % of stair lifts with 6 monthly service and maintenance visits undertaken. [NOTE - Servicing Performance Indicator] (Council stock) | 100% | 194 | 100% | 100% | 94.50% |
|  | % of stairlifts with thorough inspection compliancy (Council stock, insurance) annually. | 100% | 6 | 50.00% | 50.00% | 100% |
|  | % of other equipment (i.e. runways(25), Anchor Point (5) hoist(1), bath lifts(0) and slings (0)) with LOLER inspection compliancy | 100% | 31 | 91.14% | 58.33% | 100.00% |
|  | % of other equipment with 6 monthly or annual service and maintenance visits undertaken. [NOTE - Servicing Performance Indicator] | 100% | 28 | 87.54% | 73.55% | 100% |
| Barriers, gates and bollards | % HRA automated barriers and gates (across general needs, sheltered, operational sites) with a RA & planned preventative maintenance carried out bi-annually. | 100% | 0 | N/A | N/A | N/A |
| Play sites | % of HRA play sites with an independent annual inspection report. | 100% | 13 | 100% | 100% | 100% |
|  | % of HRA play sites with an bi-monthly operational inspection report. | 100% | 13 | 100% | 100% | 100% |
|  | Number of urgent actions outstanding. [NOTE - Actions Performance Indicator] | 100% | Responsive KPI | 100% | 95.24% |  |
| Damp and Mould | Responding effectively to reports of damp and mould | 100% | Responsive KPI | 100% | 100% | 100% |
|  | (% of enquiries resolved in a year) – incl. council TA | 100% | Responsive KPI | 100% | 100% | 100% |
|  | Investing in our stock to prevent damp and mould by installing Smart Link monitors, when identified (number of properties improved in a year) |  |  |  |  |  |